## Sheet1
Ulteig Point List Test File
Generated: 2026-01-28T23:45:12
(This file intentionally has 4 junk rows before the header)
Point Description | Point Name | DNP Index (0 not used) | Point Logic 0/1 | Point Type
d1 | UNIT CONN | 67 | 0\Disconnected\1\Connected | DI
d2 | BRK 52A | 68 | 0\Open\1\Closed | DI
d3 | FIRE | 69 | 0\Normal\1\Alarm | DI
d4 | BRK 52A TRIP | 70 | 0\Idle\1\Trip | DO
d5 | BRK 52A CLOSE | 71 | 0\Idle\1\Close | DO